## Sheet1
COMB CELL SIZE MEASUREMENT
Operation of this spreadsheet
Import tpsdig data as pairs of points into another blank spreadsheet.
The first three pairs of points are for the 50 mm calibration bars placed on the comb photographed.
Paste tpsdig data from the other spreadsheet into columns B and C of this one.
Remove unwanted rows between last data value pair and the statistical results, or add extra rows if there are more than 43 rows of 10 cells measured.
Check calibration for each optical setup using engineers' calipers.
Calibration
For 50 mm long calibration bars mounted on the comb, one pair of x,y coordinates for each bar.
Point coordinates
x | y | Distance between pairs of points.
Calibration |  | Pixels per 50 mm
492 | 297 | 457.3948
949 | 316
377 | 622 | 460.2445
392 | 1082
539 | 1435 | 458.6513
983 | 1320
| Average | 91.7527 | pixels per 10 mm
Comb data
Cell C15
Row of | Point coordinates |  | Length of 10 cells | Pixels per | CELL
cells | x | y | Units: pixels | 10 mm | SIZE mm | With caliper
1 | 435 | 326 | 508.3935 | 91.7527 | 5.5409 | 5.13 | Bottom of comb
| 943 | 346
2 | 416 | 374 | 494.082 | 91.7527 | 5.3849
| 910 | 383
3 | 438 | 419 | 492.123 | 91.7527 | 5.3636
| 930 | 430
4 | 455 | 466 | 492.1016 | 91.7527 | 5.3633
| 947 | 476
5 | 430 | 512 | 491.0652 | 91.7527 | 5.3521
| 921 | 520
6 | 497 | 558 | 444.1621 | 91.7527 | 4.8409
| 941 | 570
7 | 517 | 606 | 448.1886 | 91.7527 | 4.8847
| 965 | 619
8 | 938 | 661 | 444.0011 | 91.7527 | 4.8391
| 494 | 660
9 | 511 | 704 | 453.1104 | 91.7527 | 4.9384
| 964 | 714
10 | 938 | 758 | 454.0275 | 91.7527 | 4.9484
| 484 | 753
11 | 504 | 797 | 454.1101 | 91.7527 | 4.9493
| 958 | 807
12 | 472 | 850 | 462.039 | 91.7527 | 5.0357
| 934 | 856
13 | 956 | 902 | 456.1327 | 91.7527 | 4.9713
| 500 | 891
14 | 477 | 937 | 457.0886 | 91.7527 | 4.9817
| 934 | 946
15 | 907 | 992 | 457.2461 | 91.7527 | 4.9835 | 5.24
| 450 | 977
16 | 432 | 1023 | 452.2168 | 91.7527 | 4.9286
| 884 | 1037
17 | 407 | 1068 | 452.1106 | 91.7527 | 4.9275
| 859 | 1078
18 | 427 | 1113 | 452.1338 | 91.7527 | 4.9277
| 879 | 1124
19 | 859 | 1168 | 458.1092 | 91.7527 | 4.9929
| 401 | 1158
20 | 420 | 1198 | 467.274 | 91.7527 | 5.0928
| 887 | 1214
21 | 915 | 1255 | 476.42 | 91.7527 | 5.1924
| 439 | 1235
|  |  |  | MEAN | 5.0686 | 5.185 | mm
|  |  |  | Max | 5.5409 | 5.24 | mm
|  |  |  | Min | 4.8391 | 5.13 | mm
|  |  |  | Median | 4.9817 | 5.185 | mm