## Sheet1
COMB CELL SIZE MEASUREMENT
Operation of this spreadsheet
Import tpsdig data as pairs of points into another blank spreadsheet.
The first three pairs of points are for the 50 mm calibration bars placed on the comb photographed.
Paste tpsdig data from the other spreadsheet into columns B and C of this one.
Remove unwanted rows between last data value pair and the statistical results, or add extra rows if there are more than 43 rows of 10 cells measured.
Check calibration for each optical setup using engineers' calipers.
Calibration
For 50 mm long calibration bars mounted on the comb, one pair of x,y coordinates for each bar.
Point coordinates
x | y | Distance between pairs of points.
Calibration |  | Pixels per 50 mm
1058 | 102 | 458.1899
1515 | 135
853 | 493 | 457.5249
901 | 948
1260 | 1377 | 453.5383
1709 | 1313
| Average | 91.2835 | pixels per 10 mm
Comb data
Cell C15
Row of | Point coordinates |  | Length of 10 cells | Pixels per | CELL
cells | x | y | Units: pixels | 10 mm | SIZE mm | With caliper
1 | 1133 | 61 | 460.757 | 91.2835 | 5.0475 | 5.13 | Bottom of comb
| 1569 | 210
2 | 1182 | 131 | 467.4569 | 91.2835 | 5.1209
| 1628 | 271
3 | 1103 | 149 | 462.3873 | 91.2835 | 5.0654
| 1544 | 288
4 | 1067 | 183 | 463.9968 | 91.2835 | 5.083
| 1510 | 321
5 | 1475 | 352 | 463.1134 | 91.2835 | 5.0734
| 1032 | 217
6 | 996 | 249 | 463.7801 | 91.2835 | 5.0807
| 1440 | 383
7 | 1406 | 416 | 465.8508 | 91.2835 | 5.1033
| 962 | 275
8 | 927 | 309 | 467.7574 | 91.2835 | 5.1242
| 1373 | 450
9 | 1340 | 484 | 470.5507 | 91.2835 | 5.1548
| 893 | 337
10 | 1305 | 518 | 472.1366 | 91.2835 | 5.1722
| 858 | 366
11 | 823 | 396 | 474.6757 | 91.2835 | 5.2
| 1272 | 550
12 | 1194 | 573 | 479.9885 | 91.2835 | 5.2582
| 744 | 406
13 | 1069 | 576 | 486.2016 | 91.2835 | 5.3263
| 615 | 402
14 | 630 | 449 | 479.3099 | 91.2835 | 5.2508
| 1077 | 622
15 | 1087 | 668 | 479.2797 | 91.2835 | 5.2505 | 5.24
| 642 | 490
16 | 652 | 538 | 479.1044 | 91.2835 | 5.2485
| 1098 | 713
17 | 1016 | 729 | 477.797 | 91.2835 | 5.2342
| 573 | 550
18 | 582 | 598 | 479.0992 | 91.2835 | 5.2485
| 1026 | 778
19 | 1036 | 823 | 478.3513 | 91.2835 | 5.2403
| 592 | 645
20 | 601 | 688 | 480.5799 | 91.2835 | 5.2647
| 1047 | 867
21 | 611 | 737 | 479.652 | 91.2835 | 5.2545
| 1056 | 916
22 | 1066 | 964 | 482.084 | 91.2835 | 5.2812
| 620 | 781
23 | 671 | 847 | 484.8556 | 91.2835 | 5.3115
| 1122 | 1025
24 | 678 | 894 | 485.786 | 91.2835 | 5.3217
| 1130 | 1072
25 | 1140 | 1122 | 489.6795 | 91.2835 | 5.3644
| 685 | 941
26 | 693 | 992 | 490.8055 | 91.2835 | 5.3767
| 1150 | 1171
27 | 700 | 1038 | 493.3984 | 91.2835 | 5.4051
| 1159 | 1219
28 | 706 | 1084 | 496.5561 | 91.2835 | 5.4397
| 1168 | 1266
29 | 1179 | 1315 | 501.2115 | 91.2835 | 5.4907
| 712 | 1133
30 | 720 | 1184 | 496.9235 | 91.2835 | 5.4437
| 1182 | 1367
31 | 727 | 1231 | 496.9346 | 91.2835 | 5.4439
| 1187 | 1419
32 | 732 | 1279 | 495.1616 | 91.2835 | 5.4244
| 1188 | 1472
33 | 1052 | 1458 | 486.1646 | 91.2835 | 5.3259
| 602 | 1274
34 | 1056 | 1502 | 483.7365 | 91.2835 | 5.2993
| 607 | 1322
|  |  |  | MEAN | 5.2568 | 5.185 | mm
|  |  |  | Max | 5.4907 | 5.24 | mm
|  |  |  | Min | 5.0475 | 5.13 | mm
|  |  |  | Median | 5.2527 | 5.185 | mm