## Sheet1
COMB CELL SIZE MEASUREMENT
Operation of this spreadsheet
Import tpsdig data as pairs of points into another blank spreadsheet.
The first three pairs of points are for the 50 mm calibration bars placed on the comb photographed.
Paste tpsdig data from the other spreadsheet into columns B and C of this one.
Remove unwanted rows between last data value pair and the statistical results, or add extra rows if there are more than 43 rows of 10 cells measured.
Check calibration for each optical setup using engineers' calipers.
Calibration
For 50 mm long calibration bars mounted on the comb, one pair of x,y coordinates for each bar.
Point coordinates
x | y | Distance between pairs of points.
Calibration |  | Pixels per 50 mm
916 | 122 | 454.2708
1365 | 191
752 | 605 | 457.07
760 | 1062
1035 | 1663 | 456.422
1490 | 1627
| Average | 91.1842 | pixels per 10 mm
Comb data
Cell C15
Row of | Point coordinates |  | Length of 10 cells | Pixels per | CELL
cells | x | y | Units: pixels | 10 mm | SIZE mm | With caliper
1 | 942 | 88 | 470.5412 | 91.1842 | 5.1603 |  | Bottom of comb
| 1407 | 160
2 | 964 | 146 | 465.4213 | 91.1842 | 5.1042
| 1425 | 210
3 | 935 | 179 | 466.1352 | 91.1842 | 5.112
| 1396 | 248
4 | 901 | 216 | 473.0803 | 91.1842 | 5.1882
| 1370 | 278
5 | 869 | 253 | 475.6017 | 91.1842 | 5.2158
| 1340 | 319
6 | 838 | 289 | 476.1859 | 91.1842 | 5.2222
| 1310 | 352
7 | 804 | 323 | 481.8226 | 91.1842 | 5.2841
| 1281 | 391
8 | 1252 | 426 | 483.5256 | 91.1842 | 5.3027
| 773 | 360
9 | 793 | 407 | 480.8326 | 91.1842 | 5.2732
| 1269 | 475
10 | 1288 | 519 | 485.37 | 91.1842 | 5.323
| 808 | 447
11 | 775 | 483 | 487.2012 | 91.1842 | 5.343
| 1257 | 554
12 | 1477 | 619 | 488.2131 | 91.1842 | 5.3541
| 993 | 555
13 | 1447 | 657 | 490.1959 | 91.1842 | 5.3759
| 961 | 593
14 | 1317 | 681 | 484.381 | 91.1842 | 5.3121
| 837 | 616
15 | 1439 | 736 | 493.1896 | 91.1842 | 5.4087
| 949 | 680
16 | 1407 | 773 | 496.9427 | 91.1842 | 5.4499
| 913 | 719
17 | 986 | 765 | 492.79 | 91.1842 | 5.4043
| 1475 | 826
18 | 958 | 801 | 489.6897 | 91.1842 | 5.3703
| 1444 | 861
19 | 973 | 849 | 493.7459 | 91.1842 | 5.4148
| 1464 | 901
20 | 1090 | 905 | 489.9847 | 91.1842 | 5.3736
| 1577 | 959
21 | 1057 | 945 | 494.3359 | 91.1842 | 5.4213
| 1549 | 993
22 | 1080 | 985 | 489.56 | 91.1842 | 5.3689
| 1567 | 1035
23 | 1347 | 1054 | 483.6124 | 91.1842 | 5.3037
| 1827 | 1113
24 | 1266 | 1086 | 486.5902 | 91.1842 | 5.3363
| 1749 | 1145
25 | 1236 | 1122 | 483.9876 | 91.1842 | 5.3078
| 1716 | 1184
26 | 1204 | 1160 | 486.7124 | 91.1842 | 5.3377
| 1687 | 1220
27 | 1176 | 1199 | 483.6124 | 91.1842 | 5.3037
| 1656 | 1258
28 | 1142 | 1236 | 485.2391 | 91.1842 | 5.3215
| 1623 | 1300
29 | 1164 | 1276 | 477.4599 | 91.1842 | 5.2362
| 1636 | 1348
30 | 1137 | 1319 | 472.3664 | 91.1842 | 5.1804
| 1604 | 1390
31 | 1621 | 1440 | 480.0542 | 91.1842 | 5.2647
| 1147 | 1364
32 | 1115 | 1401 | 485.5193 | 91.1842 | 5.3246
| 1595 | 1474
33 | 1137 | 1443 | 442.8781 | 91.1842 | 4.857
| 708 | 1553
34 | 695 | 1605 | 514.8874 | 91.1842 | 5.6467
| 1198 | 1495
35 | 627 | 1667 | 502.1125 | 91.1842 | 5.5066
| 1116 | 1553
| 1184 | 1591 | 504.0605 | 91.1842 | 5.5279
| 1675 | 1705
| 1092 | 1642 | 508.8418 | 91.1842 | 5.5804
| 598 | 1764
|  |  |  | MEAN | 5.3194 | #DIV/0! | mm
|  |  |  | Max | 5.6467 | 0 | mm
|  |  |  | Min | 4.857 | 0 | mm
|  |  |  | Median | 5.323 | #DIV/0! | mm