## Sheet1
COMB CELL SIZE MEASUREMENT
Operation of this spreadsheet
Import tpsdig data as pairs of points into another blank spreadsheet.
The first three pairs of points are for the 50 mm calibration bars placed on the comb photographed.
Paste tpsdig data from the other spreadsheet into columns B and C of this one.
Remove unwanted rows between last data value pair and the statistical results, or add extra rows if there are more than 43 rows of 10 cells measured.
Check calibration for each optical setup using engineers' calipers.
Calibration
For 50 mm long calibration bars mounted on the comb, one pair of x,y coordinates for each bar.
Point coordinates
x | y | Distance between pairs of points.
Calibration |  | Pixels per 50 mm
1329 | 144 | 454.4634
1780 | 88
1189 | 563 | 456.7111
1296 | 1007
1207 | 1610 | 455.7982
1653 | 1516
| Average | 91.1315 | pixels per 10 mm
Comb data
Cell C15
Row of | Point coordinates |  | Length of 10 cells | Pixels per | CELL
cells | x | y | Units: pixels | 10 mm | SIZE mm | With caliper
1 | 1674 | 68 | 481.8765 | 91.1315 | 5.2877 | 5.13 | Bottom of comb
| 1196 | 129
2 | 1178 | 177 | 483.3725 | 91.1315 | 5.3041
| 1658 | 120
3 | 1687 | 151 | 484.605 | 91.1315 | 5.3176
| 1206 | 210
4 | 1188 | 257 | 481.3865 | 91.1315 | 5.2823
| 1666 | 200
5 | 1696 | 236 | 480.5133 | 91.1315 | 5.2727
| 1219 | 294
6 | 1201 | 341 | 477.7824 | 91.1315 | 5.2428
| 1675 | 281
7 | 1705 | 320 | 478.6502 | 91.1315 | 5.2523
| 1230 | 379
8 | 1214 | 422 | 476.4221 | 91.1315 | 5.2279
| 1687 | 365
9 | 1713 | 402 | 476.6655 | 91.1315 | 5.2305
| 1240 | 461
10 | 1225 | 506 | 470.4657 | 91.1315 | 5.1625
| 1692 | 449
11 | 1768 | 479 | 473.2124 | 91.1315 | 5.1926
| 1299 | 542
12 | 1235 | 590 | 469.2345 | 91.1315 | 5.149
| 1701 | 535
13 | 1355 | 619 | 477.4453 | 91.1315 | 5.2391
| 1828 | 554
14 | 1808 | 601 | 476.9172 | 91.1315 | 5.2333
| 1335 | 662
15 | 1836 | 639 | 476.7316 | 91.1315 | 5.2312 | 5.24
| 1364 | 706
16 | 1064 | 772 | 471.9629 | 91.1315 | 5.1789
| 1534 | 729
17 | 1514 | 773 | 468.9755 | 91.1315 | 5.1461
| 1047 | 816
18 | 1027 | 861 | 469.1631 | 91.1315 | 5.1482
| 1494 | 816
19 | 1571 | 849 | 470.0638 | 91.1315 | 5.1581
| 1103 | 893
20 | 897 | 965 | 469.5956 | 91.1315 | 5.1529
| 1363 | 907
21 | 1585 | 924 | 475.1936 | 91.1315 | 5.2144
| 1113 | 979
22 | 1143 | 1019 | 476.4221 | 91.1315 | 5.2279
| 1616 | 962
23 | 1168 | 1058 | 483.0279 | 91.1315 | 5.3003
| 1648 | 1004
24 | 1196 | 1099 | 484.605 | 91.1315 | 5.3176
| 1677 | 1040
25 | 1175 | 1141 | 484.605 | 91.1315 | 5.3176
| 1656 | 1082
26 | 1159 | 1184 | 488.821 | 91.1315 | 5.3639
| 1644 | 1123
27 | 1623 | 1167 | 483.3901 | 91.1315 | 5.3043
| 1144 | 1232
28 | 1083 | 1283 | 473.4828 | 91.1315 | 5.1956
| 1552 | 1218
29 | 1584 | 1254 | 475.1842 | 91.1315 | 5.2143
| 1114 | 1324
30 | 1144 | 1366 | 483.1749 | 91.1315 | 5.302
| 1621 | 1289
31 | 1650 | 1329 | 479.7416 | 91.1315 | 5.2643
| 1176 | 1403
32 | 1116 | 1464 | 479.8854 | 91.1315 | 5.2659
| 1589 | 1383
33 | 1624 | 1428 | 488.6277 | 91.1315 | 5.3618
| 1143 | 1514
34 | 1651 | 1463 | 489.1176 | 91.1315 | 5.3672
| 1171 | 1557
35 | 1627 | 1505 | 485.8282 | 91.1315 | 5.3311 | 5.41
| 1152 | 1607
36 | 1092 | 1677 | 490.4335 | 91.1315 | 5.3816
| 1569 | 1563
37 | 1601 | 1608 | 485.6223 | 91.1315 | 5.3288
| 1128 | 1718
|  |  |  | MEAN | 5.2559 | 5.26 | mm
|  |  |  | Max | 5.3816 | 5.41 | mm
|  |  |  | Min | 5.1461 | 5.13 | mm
|  |  |  | Median | 5.2523 | 5.25 | mm