## Sheet1
COMB CELL SIZE MEASUREMENT
Operation of this spreadsheet
Import tpsdig data as pairs of points into another blank spreadsheet.
The first three pairs of points are for the 50 mm calibration bars placed on the comb photographed.
Paste tpsdig data from the other spreadsheet into columns B and C of this one.
Remove unwanted rows between last data value pair and the statistical results, or add extra rows if there are more than 43 rows of 10 cells measured.
Check calibration for each optical setup using engineers' calipers.
Calibration
For 50 mm long calibration bars mounted on the comb, one pair of x,y coordinates for each bar.
Point coordinates
x | y | Distance between pairs of points.
Calibration |  | Pixels per 50 mm
915 | 146 | 452.0177
1367 | 142
697 | 512 | 454.7439
723 | 966
989 | 1526 | 457.0394
1446 | 1520
| Average | 90.9201 | pixels per 10 mm
Comb data
Cell C15
Row of | Point coordinates |  | Length of 10 cells | Pixels per | CELL
cells | x | y | Units: pixels | 10 mm | SIZE mm | With caliper
1 | 675 | 86 | 496.0091 | 90.9201 | 5.4554 |  | Bottom of comb
| 1171 | 83
2 | 1194 | 125 | 493 | 90.9201 | 5.4223
| 701 | 125
3 | 726 | 168 | 491.0367 | 90.9201 | 5.4008
| 1217 | 174
4 | 700 | 210 | 491.0163 | 90.9201 | 5.4005
| 1191 | 214
5 | 1217 | 254 | 491.0092 | 90.9201 | 5.4004
| 726 | 251
6 | 703 | 292 | 490.0092 | 90.9201 | 5.3895
| 1193 | 295
7 | 727 | 336 | 489.0041 | 90.9201 | 5.3784
| 1216 | 338
8 | 1194 | 383 | 490.0255 | 90.9201 | 5.3896
| 704 | 378
9 | 727 | 419 | 489.0164 | 90.9201 | 5.3785
| 1216 | 423
10 | 705 | 459 | 487.0164 | 90.9201 | 5.3565
| 1192 | 463
11 | 1215 | 503 | 487.0092 | 90.9201 | 5.3565
| 728 | 500
12 | 755 | 541 | 485.0258 | 90.9201 | 5.3346
| 1240 | 546
13 | 1215 | 587 | 483.0166 | 90.9201 | 5.3125
| 732 | 583
14 | 755 | 623 | 484.0372 | 90.9201 | 5.3238
| 1239 | 629
15 | 1215 | 669 | 480.0094 | 90.9201 | 5.2795
| 735 | 666
16 | 758 | 708 | 481.0042 | 90.9201 | 5.2904
| 1239 | 710
17 | 1216 | 754 | 484.0165 | 90.9201 | 5.3235
| 732 | 750
18 | 757 | 791 | 486.0041 | 90.9201 | 5.3454
| 1243 | 793
19 | 1216 | 837 | 484.0093 | 90.9201 | 5.3235
| 732 | 834
20 | 758 | 874 | 481 | 90.9201 | 5.2904
| 1239 | 874
21 | 782 | 917 | 482.0093 | 90.9201 | 5.3015
| 1264 | 920
22 | 1241 | 962 | 483.0259 | 90.9201 | 5.3126
| 758 | 957
23 | 782 | 1000 | 483.0259 | 90.9201 | 5.3126
| 1265 | 1005
24 | 1242 | 1047 | 484.0258 | 90.9201 | 5.3236
| 758 | 1042
25 | 782 | 1084 | 485.0165 | 90.9201 | 5.3345
| 1267 | 1088
26 | 1244 | 1128 | 485.0041 | 90.9201 | 5.3344
| 759 | 1126
27 | 783 | 1168 | 483.0166 | 90.9201 | 5.3125
| 1266 | 1172
28 | 1244 | 1216 | 486.0165 | 90.9201 | 5.3455
| 758 | 1212
29 | 783 | 1258 | 486.0041 | 90.9201 | 5.3454
| 1269 | 1260
30 | 1246 | 1301 | 487.0041 | 90.9201 | 5.3564
| 759 | 1299
31 | 784 | 1344 | 489.001 | 90.9201 | 5.3784
| 1273 | 1345
32 | 1249 | 1390 | 491 | 90.9201 | 5.4003
| 758 | 1390
33 | 785 | 1434 | 491.0163 | 90.9201 | 5.4005
| 1276 | 1430
34 | 761 | 1480 | 493.0365 | 90.9201 | 5.4227
| 1254 | 1474
35 | 1279 | 1508 | 495.1222 | 90.9201 | 5.4457
| 784 | 1519
| 757 | 1565 | 501.016 | 90.9 | 5.5117
| 1258 | 1561
| 780 | 1609 | 504.12 | 90.9 | 5.5459
| 1284 | 1598
| 670 | 1693 | 509.001 | 90.9 | 5.5996
| 161 | 1694
|  |  |  | MEAN | 5.372 | #DIV/0! | mm
|  |  |  | Max | 5.5996 | 0 | mm
|  |  |  | Min | 5.2795 | 0 | mm
|  |  |  | Median | 5.3564 | #DIV/0! | mm